## Sheet1
State | URL | # of Records | # Domestic | Address | GPS | PLSS | Last Updated | Description | Notes | Location Requirements | Reporting Requirements | Reporting Required Start Date | Suitable for RW Method?
Alabama | http://www.gsa.state.al.us/gsa/groundwater/wellrecords | 75000 |  | Y | N |  | Unknown | These records are scanned paper documents and have not been digitized. Unsuitable for GIS in present form | According to APH (http://www.adph.org/environmental/Default.asp?id=1262) Private wells serve about 800,000 in Alabama (20%). | Projections or roofs of adjacent building: 2 Feet, Secondary electrical services: 10 Feet, Primary electrical services: 75 Feet, Cess pool or sewage lagoon: 150 Feet, Septic tank or field lines: 100 Feet, Barnyard: 150 Feet | ADEM Admin. Code R. 335-9-1-.03 (Revised May 1988) : (1) Every person desiring to drill a water well shall file with the Board, on a form furnished by the Board, a Notification of Intent to drill a well. This form shall be filed prior to the commencement of work. (2) Every person who drills a well shall file a Certification of Completion on the form furnished by the Board within 30 days after completion of work. The board shall notify the local Health authorities within 7 days of the receipt thereof. | 1988 | No
Alaska | https://dnr.alaska.gov/welts/#show-welts-intro-template | > 25,000 |  | Y | N |  |  | The well log database is designed for finding specific records and not bulk downloading locations of several, though the data is in digital form and could probably be obtained directly through the state. It seems that a large number of wells in Alaska go unreported based on what I've read. | According to the Alaska Division of Environmental Health: The State of Alaska, Drinking Water Program, does not sample, test, or regulate the construction of private drinking water wells. In fact, the only local governments that regulate and have established standards for private water wells are the Municipality of Anchorage and the City of North Pole.* Seperation distances from septic systems are only enforced when septic is installed. (http://dec.alaska.gov/eh/dw/DWP/DWP_PrivateWells.html) | 200 feet between public Non-Community Wells and on-site sewer systems | (http://dec.alaska.gov/eh/dw/DWP/DWP_PrivateWells.html): "Upon completing the well construction, it's in your best interest, as a homeowner, to assure that the water well drilling log is submitted to the Department of Natural Resources (DNR) in order to record the information in WELTS. While water well contractors are required to submit this information to DNR, it is not always carried out. Failure to record this information in WELTS may lead to difficulties in future real estate transactions." | 1979 | No
Arizona | http://gisdata-azwater.opendata.arcgis.com/datasets/3a6dacfca3a34f2a977dadf203f0c20f_0 | 207313 | 122270 | Y | Y |  | 2016-11-18 | This is the Arizona Wells55 Database containing data on all known groundwater wells in the state. This data is readily usable for GIS work. | Wells are classified by exempt or non-exempt which are based on the pumping capacity of the well. Wells that are capable of pumping less than 35 gallons per minute. | All wells must be at least 100 feet from septic tanks or sewage disposal areas. | R12-15-809. Notice of Intention to Drill A notice of intention to drill required to be filed pursuant to A.R.S. § 45-596 shall be signed by the owner or lessee of the property upon which the well is to be drilled. Historical Note Adopted effective March 5, 1984 (Supp. 84-2). | 1984 | Yes
Arkansas | http://arkansas.gov/awwcc/FramesConstructionReports.htm | 72437 |  | N | Y |  |  | This database produces a table which can be copied and reconfigured for use in GIS. It should be noted that latitude and longitude were input in reverse order for a few hundred records and must be switched. | Unclear when reporting was first required, however well logs jumped in 1988 and I believe they were required somewhere between 1988-1991 | Cess Pools: 100 Feet, Leaching Pit: 100 Feet, Pit Privy: 100 Feet, Subsurface Seepage Tile: 100 Feet, Manure Piles: 100 Feet Septic Tank 100, Feet Sewers (Cast iron with water tight, leaded or mechanical joints): 50 Feet, Footing Drains (No connection to a sewer or a sump handling sewage): 10 Feet, Pump House Floor Drain (Cast iron with water tight joints and having free fall discharge to ground surface): 2 Feet ( | Within ninety (90) days after a water well has been constructed or repaired, the constructor shall submit a report of construction to the Arkansas Water Well Construction Commission on such forms as are prescribed and furnished by the Commission. The date of construction and time of completion shall be the date and time the rig is removed or pulled off the bore hole or well. Reports must be legible, must supply all requested information applicable to the type of work done, and must contain the longitude and latitude of the well location. | 1988 | Yes
California | http://www.water.ca.gov/groundwater/wells/well_completion_reports.cfm | 800000 | [5 empty] | up to 2 million California residents are served either by private domestic wells or by water systems serving fewer than 15 service connections | CA water boundary tool: http://cehtp.org/page/water/main Well logs will be made public within the year once DWR has redacted all personal information | Animal enclosures / septic systems: 100 ft (http://waterboards.ca.gov/gama/docs/wellowner_guide.pdf) |  |  | No
Colorado | http://cdss.state.co.us/GIS/Pages/AllGISData.aspx | 522388 | 215828 | N | Y | Y | 2017-02-03 | Full database includes denied permits as well as approved and constructed wells. The 522,388 refers to all of the available permits including those denied. The 215,828 wells refer to only those that were listed as constructed under the categories of ''domestic' and 'household use only'. |  | In most cases, exempt well permits limit the pumping rate to no more than fifteen gallons per minute. Household Use Only Wells - These types of well permits are issued for ordinary household uses in one singlefamily dwelling and do not allow for outside water or livestock watering. | It appears that requirements began in 1972 however this is not confirmed | 1972 | Yes
Connecticut | http://www.ct.gov/dph/cwp/view.asp?a=3140&q=400544&dphNav_GID=1828&dphPNavCtr=¦#48151 | [6 empty] | There are approximately 322,578 private residential wells in Connecticut that serve approximately 23% of the state’s population of 3,574,097 persons (2010 census). About 822,575 people are served by their own private residential well. | Local Health Departments and Districts have the authority over private wells in their respective towns. Private wells must be properly sited and approved before being constructed. For technical advice on well construction, maintenance, water quality or water treatment systems contact your Local Health Department/District or the Department of Public Health – Private Well Program at 860-509-7296. |  |  |  | No
Delaware | http://www.dnrec.delaware.gov/wr/Information/Permits/Pages/WaterSupplyWellandWaterUsePermitData.aspx | [6 empty] | Well logs appear to exist in the TEPP (Technology Enabled Permitting Process) system, however data must be requested through the state government. |  |  |  | 1985 | No
Florida (NW) | http://www.nwfwater.com/Permits/Well-Permits/Data-Setbacks-Fees-Maps/Well-Data-from-Submitted-Completion-Reports | 73722 |  | Y | Y |  |  |  | Counties included: Bay, Calhoun, Escambia, Franklin, Gadsden, Gulf, Holmes, Jackson, Jefferson, Leon, Liberty, Okaloosa, Santa Rosa, Wakulla, Walton, Washington Florida has listed some 'No Drilling' areas which are available on their data page.... NW Florida seems to have corrupted XY coordinates for their well locations which have been located. In response to this, I have disregarded XY locations and run the entire database through the Navteq geocoding service to locate the residences using wells. | http://www.nwfwater.com/Permits/Well-Permits/Data-Setbacks-Fees-Maps Extensive List |  | 1995-11-01 | No
Florida (Saint Johns) | https://permitting.sjrwmd.com/epermitting/jsp/SearchWellCmple.do?theAction=init | 265120 | 83326 | Y | Y | N | 2015-09-29 | This data was supplied directly via ftp download as a layer package from Paul Finer who works in the Office of information technology services at the Saint Johns River Water Management District on 2/6/2016 |  |  |  |  | No
Florida (South) | [8 empty] | Need to ask for this data |  |  |  | No
Florida (Southwest) | http://www18.swfwmd.state.fl.us/search/search/wcpsimple.aspx | [11 empty] | No
Florida (Suwanee River) | [8 empty] | Need to ask for this data |  |  |  | No
Georgia | https://dph.georgia.gov/individual-private-wells | [6 empty] | Inaccesible | According to USGS: "Georgia no longer permits public access to paper water well records due to restrictions for homeland security and because of the Privacy Act." (https://ga.water.usgs.gov/about/inforequest-gw.html" | 10 feet from a sewer line, 50 feet from a septic tank, 100 feet from a septic tank absorption field, 150 feet from a cesspool or seepage pit, 100 feet from an animal or fowl enclosure | "prior to actual construction, the water well contractor must notify the county health department of the intent to drill a water well, providing such information as is required on forms prepared by the Water Well Council" (Georgia Water Well Standards Act of 1985, 12-5-134). | 1985 | No
Hawaii | http://www.higp.hawaii.edu/csav/WaterWells/wells.wt | 4760 |  | No | Yes |  | 2014 | The Hawaii comission on water resource management controls well permitting but the data for wells was compiled and published by the Hawai'I Groundwater & Geothermal Resources Center. |  | "New wells shall be sited the maximum distance possible from sources of pollution. Some possible pollution sources include wastewater lines, cesspools, septic tanks, wastewater leaching fields, landfills, chemical storage and injection wells." (HAWAII Well Construction & Pump Installation STANDARDS 2.3) | Permits are required for well construction and pump installation, first edition of standards published in 1997, revised in 2004 | 1997 | No
Idaho | https://research.idwr.idaho.gov/index.html#GIS-Data | 174450 | 163662 | Yes | Yes |  | 2016-12-30 | Permitting is regulated by The Idaho Department of Water Resources. |  | Existing Public Water Supply well, separate ownership - 50, Other existing well, separate ownership - 25, Septic drain field - 100, Septic tank - 50, Drainfield of system with more than 2,500 GPD of sewage inflow - 300*, Sewer line - main line or sub-main, pressurized, from multiple sources - 100, Sewer line - main line or sub-main, gravity, from multiple sources - 50, Sewer line - secondary, pressure tested, from a single residence or building - 25, Effluent pipe - 50, Property line - 5, Permanent buildings, other than those to house the well or plumbing apparatus, or both - 10, Above ground chemical storage tanks - 20, Permanent (more than six months) or intermittent (more than two months) surface water - 50, Canals, irrigation ditches or laterals, & other temporary (less than two months) surface water - 25 (IDAPA 37.03.09) | "Prior to beginning construction of any well, or changing the construction of any well, the driller or well owner shall obtain a permit from the director of the department of water resources to protect the public health, safety and welfare and the environment, and to prevent the waste of water or mixture of water from different aquifers." (Idaho Statue 42-235, 1987) | 1987 | Yes
Illinois | http://clearinghouse.isgs.illinois.edu/data/geology/location-points-isgs-wells-and-borings-database | 590726 | 285436 | No | Yes | No | 2017-02-01 | ISGS Wells and Borings Database basically includes every boring relating to oil / gas / water etc… Updated weekly. | Sent request on 1/24/2017 | "Prohibitions. No new water well may be located within 200 feet of any potential primary or potential secondary source or any potential route, unless some other distance is allowed or required in Table C. If the owner is the same for both the well to serve the private water system and a potential secondary source or a potential route, the well shall be no closer than 75 feet from the potential route or potential secondary source, unless some other distance is allowed or required in Table C." (IL Administrative Code Title 77, Section 920.50) |  | 1967 | Yes
Indiana | https://secure.in.gov/apps/dnr/dowos/WaterWell.aspx | [7 empty] | The Water Rights and Use Section currently maintains, in original paper and digital form, the records of over 400,000 water wells drilled in Indiana. Of this number approximately 138,000 records have been field verified. | Independent clear water drain; septic system perimeter drain; rainwater downspout; cistern; hydrant drain; or building foundation drain: 10 feet, Property lines: 15 feet, Stream; lake or pond shoreline; below-ground swimming pool; open ditch or other waterway; sanitary or storm sewer constructed of water works grade ductile iron, cast iron or PVC pipe with mechanical or push-on joints: 20 feet, Watertight grease basin; septic tank; wastewater holding tank; absorption field; constructed wetland; sewage lift station; or sanitary vault privy (a privy that utilizes a solid wall wastewater holding tank):50 feet, Stable; animal barn or feeding pen; milkhouse; livestock run; or silo:50 feet, Sanitary or storm sewer not constructed of water works grade ductile iron, cast iron or PVC pipe with mechanical or push-on joints: 50 feet, Pit privy (a privy that has brick-, block-, or stone-lined pit walls); manure pile; manure holding tank; silage pit; dry well; seepage pit or trench; or cesspool: 100 feet Surface or subsurface stored chemicals such as gasoline, diesel fuel, home heating oil, fertilizer, pesticides, etc.: 100 feet, Septage or treated sludge disposal area; wastewater absorption; storage, retention or treatment pond; ridge and furrow waste disposal site; or spray irrigation waste disposal site:500 feet, Uncovered salt storage: 1,500 feet | (Natural Resources Commission; 312 IAC 13-2-6; filed Nov 22, 1999, 3:34 p.m.: 23 IR 766; readopted filed Aug 4, 2005, 6:00 p.m.: 28 IR 3661; readopted filed May 20, 2011, 3:28 p.m.: 20110615-IR-312110002RFA; filed Dec 20, 2011, 1:55 p.m.: 20120118-IR-312110332FRA) | 1999 | No
Iowa | ftp://ftp.igsb.uiowa.edu/gis_library/IA_state/Hydrologic/ground_waters/ | 353401 | 113011 | No | Yes | Yes | 2015-04-01 | Combination of multiple well databases in Iowa (many duplicates) including Agricultural drainage, IGS, and Private well tracking system. | Was in communication with Russ Tell from Iowa DNR who was extremely helpful in procuring this data, I promised to circle back with him once research wass completed (Russel.tell@dnr.iowa.gov) From Russ: Iowa required well construction permits as a state entity as early as July 1, 1986. Before that time, local counties issued local permits in some jurisdictions, but they were never shuffled up to the state level. Some of Iowa's early permitting adaptor counties started issuing local well construction permits as early as 1970. Starting in 1986, the department established a requirement that all counties issue private well construction permits - but again without notification to the state. During this time, if a county didn't issue permits, the landowner or the well contractor were supposed to come to the predecessor of the DNR to obtain a construction permit - as can be imagined, many wells were still constructed without a construction permit. It wasn't until 2002 that the DNR implemented a statewide web based data system that the local counties use to issue state permits. The system is managed by me and includes a number of things other than permits - like water testing results, well renovation reports, and well plugging reports. So we have pretty good data forward of 2002, not so much before 2002. | 567—49.6(455B) Earthen manure storage basin / runoff control basins / anaerobic lagoons: 1000, Domestic wastewater lagoon: 400, Sanitary landfills: 1000, Preparation or storage area for spray materials / commercial fertilizers / chemicals that may result in groundwater contamination: 100, Drainage wells: 1000, Conforming wells: 10, Nonconforming wells: 100, Soil absorption field / any sewage treatment system with an open discharge / pit privy or septic tank discharge line: 100, Septic tank / concrete vault privy / sewer of tightly joined tile or equivalent material / sewer-connected foundation drain / sewers under pressure: 50, Sewer of cast iron with leaded or mechanical joints / sewer of plastic pipe with glued or compression joints / independent clear water drains / cisterns / well pits / pump house floor drains: 10, Hydrants: 10, Property lines: 4, Liquid hydrocarbon storage tanks: 100, Ditches / streams / ponds / lakes: 25 Frost pit: 10 |  | 2002 | No
Kansas | http://www.kgs.ku.edu/Magellan/WaterWell/ | 262586 | 70214 | No | Yes | Yes | 2017-01-03 | Good dataset with geolocations of well logs and use categories. Good for GIS |  | K.A.R. 28-30-8(a): The horizontal distances between the well and the potential source of pollution or contamination such as sewer lines, pressure sewer lines, septic tanks, lateral fields, pit privy, seepage pits, fuel or fertilizer storage, pesticide storage, feed lots or barn yards shall be 50 feet or more as determined by the department. Proper drainage in the vicinity of the well shall be provided so as to prevent the accumulation and ponding of surface water within 50 feet of the well. The well shall not be located in a ravine or any other drainage area where surface water may flow into the well. (c) When sewer lines are constructed of cast iron, plastic or other equally tight materials, the separation distance shall be 10 feet or more as determined by the department. (d) All wells shall be 25 feet or more from the nearest property line, allowing public right-of-ways to be counted; however, a well used only for irrigation or cooling purposes may be located closer than 25 feet to an adjoining property where: | ARTICLE 30 WATER WELL CONTRACTOR’S LICENSE; WATER WELL CONSTRUCTION: 28-30-4: Within 30 days after construction or reconstruction of a water well, each water well contractor shall submit a report to the department and to the landowner on the water well record form provided by the department | 1974-07-02 | Yes
Kentucky | http://www.uky.edu/KGS/gis/hydro.htm | 98482 |  | No | Yes | No | 2015-03-01 | includes wells found in the Data from the Kentucky Ground Water Data Repository |  | 401 KAR 6:310. Water supply well construction practices and standards: Leaching Pit: 100 Feet, Petroleum Storage Tank: 100 Feet, Grave or Cemetery: 75 Feet, Manure Pile / Animal Waste Storage / Confined Animal Feeding Operation: 75 Feet, Wastewater Treatment Disposal System: 75 Feet, Side Wall of Lateral Trench / Bed / Lagoon: 70 Feet, Geothermal – Closed Loop / Un-grouted: 70 Feet, Water Supply Well: 50 Feet, Septic Tank or Sewer Line: 50 Feet, Livestock Pen / Corral / Stable:50 Feet, Surface Water Body:25 Feet, Geothermal – Closed Loop, Grouted / Abandoned Water Well Grouted: 20 Feet, Property Lines / Utility Lines / Roadway Right of Way:10 Feet |  | 1985 | Yes
Louisiana | http://sonris.com/ | 207014 | 82914 | No | Yes | Yes | 2017-01-24 | GIS downloadable file from Lousiana DNR. | The location requirements listed are the basic setback distances. Louisiana state law allows for several exceptions based on construction methods of contamination sources as detailed in the statute referenced. | Title 56 PUBLIC WORKS Part I §313. Minimum Distance Requirements for Locating a Water Well: Septic Tanks: 50, Storm / Sanitary Sewer: 50, Cesspools / outdoor privies / oxidation ponds / subsurface absorption fields / pits: 100, Sanitary landfills / feed lots / manure piles / solid-waste dumps and similar installations: 100, Another water well: 25, Drainage canal / ditch / stream / pond / lake: 50 | Title 56 PUBLIC WORKS Part I. Water Wells §105: The contractor who drills or constructs a well or hole on or after November 1, 1985 shall be responsible for registering that well or hole by submitting to the department a completed water well registration Form within 30 calendar days after completing such well or hole | 1985 | Yes
Maine | http://www.maine.gov/dacf/mgs/pubs/digital/well.htm | 122186 |  | Yes | Yes | No | 2016-05-25 | CSV files from Maine department of Agriculture, Conservation and Forestry | A data file (CSV(zipped) 2.8MB) containing over 50,000 located wells is available for download. This file contains information on all wells in the database which could be geographically located. Data points have been located by GPS, by street address locations, and by using tax maps in combination with air photos so location accuracy varies. The database includes coordinates and descriptive information such as well yield, depth, overburden thickness, well use, and well type. This information is also portrayed on the Bedrock Groundwater Resources Basic Data Maps in PDF format and in the web map below. There is also a data file (CSV(zipped) 2.2MB) available containing over 65,000 unlocated wells that is available for download. . . . . Many setback reduction exemptions exist per section 400.3. Also, there is no specific language written in the law providing setback distances from underground storage tanks. | 400.2: Wells from waste disposal fields (<2,000 gpd): 100 feet, Wells from waste water disposal fields (>2,000 gpd): 300 feet. 400.4: "The minimum horizontal setback distance of a water supply well from septic tanks, lift stations, and holding tanks is 60 feet." | The Water Well Information Law, passed in 1987, requires the Maine Geological Survey to collect information on new water wells in Maine. | 1987 | Yes
Maryland |  | 556218 | 444435 | Yes | Yes | No | 2017-11-28 | Database obtained from public information reguest through the Maryland Department of the Environment. Native format is an Access database which I have converted into a geodatabase. Each record corresponds to a log and so it is possible for several rows in the database to refer to the same physical well. Metadata is included | Maryland does not collect well records at the state level. Instead, each county is required to collect well completion reports. Send email to alleagny 2/1 (achd.eh@maryland.gov). Anne Arundel - request sent via online request submission for well logs (2/1). email sent to Baltimore (groundwater@baltimorecountymd.gov) 2/1. email sent to calvert 2/1 ('dhmh-dl-calchd-environmentalhealthcchd@maryland.gov'). Sent email to Caroline County 2/1 (jmiller@carolinemd.org). Was put in contact with John Boris of MDE by Kevin Koepenick of Baltimore County (2/1), awaiting response from John Boris. UPDATE: Public information request sent through Maryland Department of the Environment, Wendy Donaldson handled the request and sent a microsoft access database updated 11/28/2016 via US MAIL containing all well logs reported to the State. |  | Drilling records seem to be required at the county level and are then forwarded on to the Maryland Department of Environment. It is unclear when reporting began to be required across counties. By looking at the data we can assume reporting began sometime in the 1940's |  | Yes
Massachusettes | http://public.dep.state.ma.us/searchwell/ | 186342 | 92457 | Yes | Yes | No | 2017-01-27 | This is the best available water well data as compiled by MassDEP. They are very adament about how many records do not have locations. Using the Navteq Geocoding service through EPA, I have geocoded most of the records (102,727 confident locations), these locations either had X/Y coordinates, or matched through geocoding and had street numbers, names, and cities. |  | Pursuant to Chapter 21, Section 13, of the Massachusetts General Laws, the Department of Environmental Protection promulgated 310 CMR 15.00, "Minimum Requirements for the Subsurface Disposal of Sanitary Sewage, State Environmental Code, Title 5: 10 feet from a building sewer constructed of durable corrosion resistant material with watertight joints, or 50 feet from a building sewer constructed of any other type of pipe, 50 feet from a septic tank, 100 feet from a leaching field, 100 feet from a privy | 310 CMR 46.03: The certified well driller who provided immediate field supervision on drilling of a well shall submit a report to the Department, with a copy to the municipal board of health, within 30 days of well completion. | 1989 | No
Michigan | http://gis.michigan.opendata.arcgis.com/datasets?q=Wellogic&sort_by=relevance | 592236 | 527875 | Yes | Yes | Yes | 2017-01-27 | The Wellogic system is operated by the Michigan department of environmental quality. Since 2000, well drillers have input records directly to the database. Records from earlier than 2000 were added by MDEQ. |  | R 325.1622 Wells; distances from contamination sources. Rule 122. (1) A well that furnishes water for any beneficial use shall be located where it is not subject to contamination. 800 feet from: The active work area of a landfill, Land surface application of septage waste. 300 feet from: Land application or subsurface injection of effluent or digested sludge from a municipal wastewater treatment facility, Oil and gas wells, Petroleum product processing or storage facilities. 150 feet from: a preparation or storage area for fertilizers, agricultural chemicals, or other chemicals that might contaminate the soil or groundwater. 50 feet from: A buried sewer, A septic tank, A subsurface disposal field, A dry well, A sewage pump chamber, A pressurized sewer, A grease trap, A seepage pit, A cesspool, An animal or poultry yard, An outhouse, Any other wastewater handling or disposal unit or site of liquid wastes draining into the soil. 10 feet from: A buried gravity-flow sewer, A sump, pit, or unfilled space that is below the ground surface, except for a crawl space, A surface water body, such as a lake, pond, river, or stream. USTs: 300 feet: Underground or abovegrade storage tank systems of not less than 1100 gallons which are regulated under Act No. 423 of the Public Acts of 1984, as amended, being '299.701 et. seq. of the Michigan Compiled Laws, when secondary containment as defined by Act No. 423 of the Public Acts of 1984, as amended, is not provided. 50 feet from underground or abovegrade storage tank systems which have a capacity of not less than 1,100 gallons, which are regulated pursuant to the provisions of Act No. 423 of the Public Acts of 1984, as amended, being '299.701 et seq. of the Michigan Compiled Laws, and which have secondary containment as defined in Act No. 423 of the Public Acts of 1984, as amended. 50 feet: underground or abovegrade storage tank systems which have a capacity of less than 1,100 gallons and which store motor or heating fuels for noncommercial purposes or consumptive use on the premises where the fuel is stored. | 333.12707 Record required; contents; copies; forms; sufficiency of record for drive point well. Sec. 12707. Not later than 60 days after the completion of a well, a well drilling contractor shall provide the owner with a copy and the department, or local health department, with 2 copies of a record indicating the well owner's name, location of the well, well depth, geologic materials and thicknesses of materials penetrated, amount of casing, static water levels, and any other information which may be required by the rules and construction code promulgated under section 12714. The department or local health department shall sent 1 copy of the record to the director of the department of natural resources not later than 30 days after its receipt from the well drilling contractor. | 1978-09-30 | Yes
Minnesota | http://www.health.state.mn.us/divs/eh/cwi/ | 511403 | 368734 | No | Yes | Yes | 2017-02-03 | Obtained database access from Tim Wahl at Minnesota Geological Survey (tewahl@umn.edu). Access given on 2/8/2017. The data is a full copy of the Minnesota County Wells Index database. | Minnesota has required the doslosure of wells at the transfer of property since 1990, records available at: http://www.health.state.mn.us/divs/eh/wells/disclosures/index.html | 4725.4450 WATER-SUPPLY WELL DISTANCES FROM CONTAMINATION SOURCE: 300 feet: Absorption area of a soil dispersal system with an avg design flow > 10,000 gpd / landfill / permitted demolition debris landfill / municipal or industrial wastewater rapid infiltration basin / municipal wastewater stabilization pond with > 500 gallons per acre per day leakage / liquid manure storage basin that is unpermitted. 150 feet: tank or container holding > 25 gallons or 100 pounds of agricultural chemicals / >56 gallons or 100 pounds of a hazardous substance not protected with safeguards / >1,100 gallons of petroleum / absorption area of a soil dispersal system serving a facility such as a hospital, nursing home, mortuary, veterinary clinic etc... / an industrial wastewater stabilization pond / a municipal or industrial wastewater spray irrigation area / a liquid manure storage basin. 100 feet from: a solid manure storage area not covered with a roof, except that the minimum distance to a sensitive water-supply well is increased to 200 feet / a safeguarded area used to store agricultural chemicals, or clean or fill agricultural chemical application equipment that is protected with safeguards / an underground storage tank holding 56 or more gallons, or 100 pounds dry weight, of a hazardous substance, or with more than 1100 gallons of petroleum. (Many specifics written into law... refer to MN 4725.4450 for full definitions). Petroleum tank specifics: Tanks over 1,100 gallons: 150 feet without MPCA safeguards / 100 feet with safeguards. Tanks 56 to 1,100 gallons: 50 feet for below-ground tanks / 20 feet for above-ground tanks. Tanks 56 gallons or less: No required distance, but 50 feet recommended. |  | 1974 | Yes
Mississippi | https://www.dropbox.com/s/f1udx38kypy5fmr/domestic_wells.zip?dl=0 |  | 100446 |  | Yes | Yes |  |  | Spoke with Pat Phillips of MDEQ on 2/6/2017 who was very helpful and informative on the condition of Mississippi well records. Records are not downloadable anywhere but Pat sent a link to download current records. She was adament that there was a lot of information missing, however data seems to go back well into the early 1960's and some are older than that. |  |  |  | No
Missouri | http://www.msdis.missouri.edu/data/themelist.html# | 227717 | 137930 | N | Y | Yes | 2015-11-23 | This data does not come directly from Missouri DNR which is responsible for collecting well logs. It comes from the Missouri Spatial Data Information Service which collects and distributes Missouri focused data. This organization is run out of the University of Missouri. |  |  | CSR 23-3.060 Certification and Registration Reports | 1987 | Yes
Montana | http://mbmggwic.mtech.edu/sqlserver/v11/menus/menuData.asp?pagename=zipper | 285141 | 157729 | No | Yes | Yes | 2017-02-02 | The Ground Water Information Center in Montana regularly updates their well database with all Montana water well reports. |  |  |  |  | Yes
Nebraska | http://dnr.nebraska.gov/groundwater-data | 231115 | 231115 | Yes | Yes | Yes | 2017-02-06 | Nebraska Department of Natural Resources registered groundwater wells database. |  |  | Nebraska Revised Statute 46-602 | 1993-09-09 | No
Nevada | http://water.nv.gov/data/welllog/index.cfm | 125272 | 60781 | Yes | Yes | Yes | 2017-02-01 | State of Nevada division of water resources maintained database. It is not specified what the status letters represent but a quick check of wells labeled "H" revealed households almost exclusively when overlaid with aerial imagery. |  |  | NRS 534.170 Well driller to keep log and records; contents; information to be furnished to State Engineer; report of test. 1. The well driller shall keep: (a) A log of the depth, thickness and character of the different strata penetrated and the location of water-bearing strata; and (b) An accurate record of the work, including: (1) A statement of the date of beginning work; (2) The date of completion; (3) The length, size and weight of the casing and how it is placed; (4) The size of the drilled hole; (5) Where sealed off and the type of seal; (6) The name of the well driller and the type of drilling machine used; (7) The number of cubic feet per second or gallons per minute of flow from such well when completed; and (8) The pressure in pounds per square inch if it is a flowing well, and, if nonflowing, the static water level, and the water temperature. 2. The well driller shall furnish a copy of the log and the record of work for every well drilled to the State Engineer within 30 days after the well is completed. 3. If the well is to be tested by pumping by the holder of the permit, the report of the test must include the drawdown with respect to the amount of water pumped and any additional information requested by the State Engineer. This information must be reported and verified on forms prescribed by the State Engineer. The report must be returned: (a) Immediately following the completion of the test; or (b) Within 30 days following the completion of the well, Ê whichever occurs later. 4. The log, record of the work and report of the test are a permanent record in the Office of the State Engineer. [Part 7a:178:1939; added 1947, 52; A 1955, 328] — (NRS A 1981, 1842) | 1981 | Yes
New Hampshire | http://www.des.nh.gov/organization/commissioner/gsu/wwip/index.htm | 64956 |  | Yes | Yes | No | 2011-12-15 |  | "The New Hampshire water well inventory database was initiated in 1984 in conjunction with the passage of state statute RSA 482-B which requires the licensing of water well contractors and the submission of well completion reports." could and probably should request updated version of this data. |  |  | 1984 | Yes
New Jersey | https://www13.state.nj.us/DataMiner | [11 empty] | Yes
New Mexico | http://gisdata-ose.opendata.arcgis.com/datasets/a1e1e3721ea6403b9e03e81f404918b7_0 | 128000 | 74734 | Yes | Yes | Yes | 2017-02-03 | The NM Office of the State Engineer (OSE) "Point of Diversions" (POD) layer includes well locations, surface declarations, or surface permits. These data were extracted from the OSE W.A.T.E.R.S. (Water Administration Technical Engineering Resource System) database and geo-located (mapped). These data have varying degrees of accuracy and have not been validated. Data is current as of February 3, 2017. This message is to alert users of this data to various changes regarding how this POD data is generated and maintained by the NM Office of the State Engineer. In addition, all attribute fields are fully described in the metadata, including descriptions of field codes. Please read the metadata accompanying this GIS data layer for further information. NOTE: Only 216,917 features will download and plot as 34,340 records do not have a valid locational reference from our database. (No known locations) Any questions regarding this GIS data should be directed NM OSE Information Technology Systems Bureau GIS at the contact information given below. Stephen N. Hayes NMOSE ITSB GIS Data ManagerPO Box 25102 Santa Fe, NM |  |  |  |  | Yes
New York | http://gis.ny.gov/gisdata/inventories/details.cfm?DSID=1203 | 24562 |  | No | Yes | No | 2016-12-01 | Very minimal records considering the size of New York. Although records are required, they don't seem to be actively updating the well log database (at least the public facing one). |  | According to subsection RP2602.1.1.3 of the Residential Code of New York State, wells shall be located an appropriate distance from known sources of contamination: Wastewater treatment absorption systems located in coarse gravel or in the the direct path of drainage to a well (200 feet). Seepage Pit following a septic tank (150 feet). Absorption field (100 feet). Septic Tank / Aerobic Unit / watertight effluent line to distribution box (50 feet). Stream / lake / watercourse / drainage ditch / wetland (25 feet). | NYS Water Well Driller Registration Law (ECL 15-1525): The certificate of registration shall require that before the commencement of drilling of any well or wells the water well driller shall file a preliminary notice with the department; it shall also provide that upon the completion of the drilling of any water well or water wells a completion report be filed with the department, giving the log of the well, the size and depth thereof, the capacity of the pump or pumps attached or to be attached thereto, and such other information pertaining to the withdrawal of water and operation of such water well or water wells as the department by its rules and regulations may require | 2000-04-01 | No
North Carolina | [8 empty] | Well permits are required but don't seem to be compiled at the state level. Instead they are handled at the county level. | 15 NCAC 02C .0107: The extensive setback requirements can be found at: http://reports.oah.state.nc.us/ncac/title%2015a%20-%20environmental%20quality/chapter%2002%20-%20environmental%20management/subchapter%20c/15a%20ncac%2002c%20.0107.pdf Septic Systems: 100 feet, CAFOs: 100 feet | Mandated by the state but handled at the county level: "North Carolina General Statute 87-97 requires counties to have programs for permitting, inspecting, and testing of private drinking water wells, which are constructed, repaired, or abandoned, on or after July 1, 2008. As a result, county health departments enforce state statutes and rules and receive technical and legal assistance from the Environmental Health Section. The program is designed to protect human health and groundwater quality by ensuring private drinking water wells are properly constructed, repaired, and abandoned." (http://ehs.ncpublichealth.com/oswp/docs/PrivateWellsFrequentlyAskedQuestions.pdf) | 2008-07-01 | No
North Dakota | http://mapservice.swc.nd.gov/ | 102907 | 28638 | No | Yes | No | 2017-03-16 | North Dakota maintains two separate well databases: Ground/Surface water sites & Well Drillers logs. As described by Rod Bassler from ND: The biggest question for most people is “what is the difference between the water data sites and the driller’s logs?”. The Drillers Logs do not contain all of the information from the Ground/Surface Water Sites layer. The Driller’s Logs layer has about 60,000 records of required regulatory documentation for any well drilled by a commercial well driller (they are required by law to provide this information to the Water Commission when they drill a well). Privately drilled wells probably won’t show up here, but the chances of that happening are probably quite low. You’ll find lithology (although not necessarily in a geologist’s terminology, but in a well driller’s terminology) along with purpose, depth, screening intervals, pumping rates, etc. The scanned well driller’s log is also available. Again, if you want to use the query tools for this layer, you’ll have to turn the layer on with the check box and it will appear in the pull-down for the Active Layer. You can then select wells individually or by box, poly, attributes, etc. and once selected, the info will appear on the left side of the screen, same as for the Water Data Sites. The Ground/Surface Water Sites layer is aimed at science/research and mainly consists of wells that are being sampled for water chemistry or water levels. The only way one of these wells will appear in the Driller’s Logs layer would be if we started collecting samples from a commercially drilled well. Wells drilled by the State (or maybe even the Feds) will probably not show up in the Driller’s Logs layers. |  | North Dakota Administrative Code: 33-18-01-04. (Location of wells): "At least one hundred feet [30.48 meters] (fifty feet [15.24 meters] for private wells) from privy pits, cesspools, septic tanks, absorption fields, barnyards, feedlots, high water marks of lakes, streams, sloughs, ponds, etc., when well is constructed in unconsolidated soils with filtering properties. b. At least thirty feet [9.14 meters] from sewerlines. c. At least ten feet [3.05 meters] from basements or pits. d. At least twenty feet [6.1 meters] from overhead powerlines and other hazardous devices." | North Dakota Century Code 43-35-19. Standards for well drilling - Reports required. "All construction of water wells must comply with the rules adopted by the state department of health. Within thirty days after the completion of each well, each water well contractor shall furnish to the board on forms provided by the board such information as the state department of health shall require, including a log of formations penetrated, well depth, and casing size and weight. A copy of each report must also be furnished to the customer. All information submitted must remain the property of the board." From Jon Patch (Director of Water Appropriations / ND State Water Commission): "NDCC 43-35 was enacted in 1971. That is when logs were requested to be filed with the board. It later became mandatory by statute or rule. Not sure of the exact date of that transition but its been that way for most of my tenure here - since 1982." | 1982-01-01 | No
Ohio | https://apps.ohiodnr.gov/water/maptechs/wellogs/appNEW/ | 443968 | 443968 | Yes | Yes | No | 2015-10-01 | Access Database obtained from Wayne Jones of ODNR, Includes domestic well records going back to the 1940's. Mr. Jones informed me that ODNR actually possesses more than 800,000 well logs however the missing ones from this data have not been digitized. |  | Setbacks: Fuel storage tanks under 1,11 gallons (50 feet), Fuel storage tanks over 1,100 fallons (150 feet). Fuel storage tanks over 1,100 gallons with no secondary containment (300 feet). Additional requirements: http://www.odh.ohio.gov/-/media/ODH/ASSETS/Files/rules/final/3701-20-TO--29/3701-28/3701-28-07.pdf?la=en (Ohio Revised Code 3701-28-07 ) | Ohio Revised Code 3701-28-03: Any person intending to construct or alter a private water system or install a test well or component thereof, shall, either in person or through a designated agent, make application to the board of health for a permit. Permits may be completed in person, sent by mail, or submitted by fax or email where the board of health accepts electronic payment. Except as provided in paragraph (H) and paragraph (A)(1)(a) of this rule, no work shall commence until a valid permit has been issued and approved. Each application shall be accompanied by the appropriate fee established under this chapter and all information required under this rule. The applicant shall sign the application form, and shall indicate the name of any registered contractor intending to do the work, if known. An application becomes a permit upon validation by the local health district | 1981-01-01 | Yes
Oklahoma | http://www.owrb.ok.gov/maps/PMG/owrbdata_GW.html | 178650 | 70655 | Yes | Yes | Yes | 2017-04-02 | OWRB maintains very good records of well drilling reports which are updated about once a month as far as I can tell. |  | Oklahoma Administrative Code 785:35-7-1: Minimum location standards. (1) Every new groundwater well, fresh water observation well and water well test hole shall be located a minimum distance from possible pollution sources as prescribed in this subsection or as otherwise authorized by a variance granted by the Executive Director. Possible pollution sources include but are not limited to existing or proposed septic tanks, sewer lines, absorption fields or beds, seepage pits, building foundations, waste pits, lagoons, oil or gas wells, and landfills. The minimum distance between the possible pollution source and the well or test hole shall be as follows, provided that other governmental agencies may require wells to be located at distances greater than the minimum distances set forth in this paragraph: (A) 10 feet from a closed or tight sanitary sewer line, 25 feet from aerobic (above ground) sprinkler spray, and 50 feet from an aerobic sprinkler head, (B) 300 feet from the outside perimeter of an existing or proposed waste lagoon for a feedlot or confined animal feeding operation, and (C) 50 feet from all other pollution sources, provided however, if the well is 50 feet to 75 feet and located down-gradient or level from a possible source of pollution, a twenty foot (20') surface seal shall be installed, and (D) 75 feet from all other pollution sources if the well is level with the pollution source and 100 feet from all other pollution sources if the well is located down-gradient from the pollution source. | Oklahoma 785:35-5-3: Requirements for multi-purpose completion report Each licensee or certified operator as the case may be shall file a multi-purpose completion report for each groundwater well, water well test hole, fresh water observation well, or heat exchange well completed or plugged. The report shall be on forms provided by the Board or electronically online and shall be filed within sixty (60) days after the date of completion or plugging. Each licensee or certified operator as the case may be shall file a multi-purpose completion report electronically online for each monitoring well, site assessment observation well and geotechnical boring within sixty (60) days after the date completed or plugged. Information regarding multiple monitoring wells, geotechnical borings and heat exchange wells may be accumulated together in a single report if all of the excavations are located in the same ten-acre tract, have substantially the same lithology encountered in the subsurface, and have substantially the same depth and construction. If more than one boring or well is included on a multi-purpose completion report, a site map shall be attached to the report which indicates the distance of each well or boring from permanent reference points such as streets, roads or section lines. Provided, a report need not be filed for a geotechnical boring 20 feet deep or less in which groundwater or contamination is not present. Effective July 1, 2009, all multi-purpose completion reports shall be submitted with latitude and longitude data. [Source: Amended at 19 Ok Reg 2498, eff 6-27-02; Amended at 25 Ok Reg 1444, eff 5-27-08; Amended at 28 Ok Reg 987, eff 7-1-11] | 1984-1986? | Yes
Oregon | http://apps.wrd.state.or.us/apps/gw/well_log/Default.aspx | 511661 | 265379 | No | Yes | Yes | 2015-09-09 | Searchable well database available online, with download feature. Most records do not have GPS coordinates. |  | OAR 690-210-0030: (1) No person shall construct a water supply well: (a) Within 50 feet of any septic tank; or (b) Within 100 feet of a septic drainline or sewage disposal structure or facility; or (c) Within 50 feet of a closed sewage or storm drainage system (except those in or underneath a building); or (d) Within 50 feet of a confined animal feeding or holding area; or (e) Within 50 feet of any animal waste holding area such as a pond or lagoon; or (f) Within 100 feet of any sewage sludge disposal area; or (g) Within 5 feet from a permanent structure or the roof, eaves or overhangs of a permanent structure. This includes decks or other additions to the structure that may hinder the ability of a drilling machine to get over the well. This does not include pump houses or other outbuildings that are easily moved; or (h) Within 500 feet of a hazardous waste storage, disposal or treatment facility without written permission of the Director; or (i) Within 25 feet of an underground or aboveground petroleum storage tank that is used for residential purposes; or (j) Within 50 feet of an underground or aboveground petroleum storage tank that is used for commercial purposes. | Water supply well reports (also referred to as well logs or well reports) are prepared by a water well constructor and describe how the well was built, altered, deepened or abandoned. Well logs are to be provided to both the person who contracted the construction of the well and to OWRD. Review the information when you receive the well log. Make sure the location information is correct and the well ID number on the well report matches the number on the well tag. Maintain the well records in a safe and accessible place. OWRD has copies of well logs for most water wells drilled in Oregon since 1955. Your unique well log number will begin with the first four letters of the county where the well is drilled.(http://www.oregon.gov/owrd/pubs/docs/Well_Water_Handbook.pdf) | 1955 | No
Pennsylvania | http://dcnr.state.pa.us/topogeo/groundwater/pagwis/records/index.htm | 551328 | 290891 | Yes | Yes | No | 2017-03-13 | "PaGWIS is a repository of hundreds of thousands of water well records. Most of the well records have been submitted to the Bureau by water well drillers. Act 610, the Water Well Drillers License Act of 1955 (passed on May 29, 1956), began the statewide process of collecting groundwater data through the licensing of water well drillers. Starting in the mid-1960s, drillers sent paper water well completion reports to the Bureau. By the 1980s, reports were being entered into a digital database that has become PaGWIS." (http://dcnr.state.pa.us/topogeo/groundwater/pagwis/index.htm) |  | Pennsylvania has not legal setback requirements. PA Safer Well Water Handbook (http://murrysville.com/wp-content/uploads/2014/08/Safer-Well-Water-Handbook.pdf): " Unlike most states, there are currently no regulations in Pennsylvania that specify how a private water well should be constructed" | Act 610, the Water Well Drillers License Act of 1955 (passed on May 29, 1956), began the statewide process of collecting groundwater data through the licensing of water well drillers. Starting in the mid-1960s, drillers sent paper water well completion reports to the Bureau. By the 1980s, reports were being entered into a digital database that has become PaGWIS. | 1955-05-29 | Yes
Rhode Island |  |  | 45000 |  |  |  |  | From a conversation with Pete DiPippo (Rhode Island DOH) on May 18, 2017: Rhode Island department of health took over well completion records in 2013. Records are filed in paper form and as of our conversation, Pete believed they had about 45,000, around 6,000 of which have been scanned, however no digital database exists for them. In 2013, locations started to require GPS coordinates, mostly addresses prior to that. Pete has informed me that he himself has utilized the publicly available E-911 GIS layer and the wPublic Water Display layer to create a water service buffer for the state of Rhode Island. Using negative inference, he has been able to identify all buildings in the state that by default must be on well water. The E-911 layer is available at: http://www.rigis.org/data/e911Sites The water system layer is available at: http://www.rigis.org/data/watrdist | New Private Water Systems a) Prior to being placed into service, the local building official shall classify all new private water systems or existing systems with new sources as commercial/mixed use, multi-family residential, single/duplex residential rental, or individual, as described in Section 3.0. This classification shall be used to determine recommended guidance on testing and reporting for systems by type. Records seem to have been required in 1972 by the water resources board but was switched in 1989 to the Department of Environmental Management in 1989 when official guidelines for well drilling were enacted, thus I use 1989 as the start date. | RULES AND REGULATIONS GOVERNING THE ENFORCEMENT OF CHAPTER 46-13.2 RELATING TO THE DRILLING OF DRINKING WATER WELLS: 7.01 Well Location A. Wells shall be located in a manner to reduce the likelihood of contamination from sources of pollution at or near the ground surface. The following are minimum isolation distances from the oklisted potential contamination sources: 2distribution box and septic tank ------75 feet sewage disposal field ----------------100 feet sewer line ----------------------------50 feet road ----------------------------------50 feet* *(from the edge of the road surface) Fuel storage tanks should be located as far as possible from wells or animal waste storage facilities. B. Wells shall not be located within 100 feet of livestock pens or animal waste storage facilities. A 20 foot wide distance shall be maintained between a well and active agricultural areas. Wells shall be located uphill from grazing areas whenever possible. Such wells are suggested to be analyzed for nitrate levels prior to use ( Does not apply to wells used solely for irrigation). | Upon completion of construction alteration or abandonment of a well, the well driller shall submit a well completion report to the department upon a form provided by the department. (See Appendix A). Such report shall be submitted within 15 working days of the completion of the well and shall include the results of a 5 hour pump test. | 1989-12-01 | No
South Carolina | [8 empty] | Unable to find any records of intent to drill notices online, but they are required to be reported to the department of health and environmental control. I have sent two e-mails to Greg Withycombe to inquire further but have not yet received a response. | https://www.scdhec.gov/Agency/docs/water-regs/r61-71.pdf Sewer lines ....................................................................................20 feet b. Lakes, streams, surface-water bodies ............................................50 feet c. Septic tank/tile fields .....................................................................75 feet d. Animal feedlots, barns, stables......................................................50 feet e. Waste disposal--land application sites ........................................ 100 feet f. Waste treatment lagoons ............................................................. 100 feet g. Chemical, herbicide, pesticide and petroleum storage or handling sites .............................................................................. 100 feet h. Landfills ...................................................................................... 100 feet i. Hazardous waste landfills/surface impoundments ...................... 100 feet j. Radioactive waste landfills ........................................................ 100 feet k. Property lines and buildings .............................................................5 feet | State Regulation requires that the Department be notified of a private drinking water well or irrigation well before installation. | 1995 | No
South Dakota | http://denr.sd.gov/des/wr/dblogsearch.aspx# |  | 34570 | N | N | Y | 2017-04-04 | Well completion reports are maintained by South Dakota DENR. GPS coordinates are not included, and the resolution for PLSS only goes down to the quarter section (.65 km2). | Water Sample From New Domestic Well: As required by the 1989 Centennial Environmental Protection Act, a water sample needs to be submitted to the SD Department of Health Laboratory or other approved lab for each new domestic well drilled in South Dakota. If the well flows or the well driller installs the pump, then the well driller is responsible for collecting and submitting the water sample. Otherwise, the well owner is responsible for collecting and submitting the water sample when a pump is installed. At a minimum, the sample needs the following parameters analyzed: nitrate, coliform bacteria, sodium, conductivity, and sulfate. For an explanation of these parameters, please see the Drinking Water Program's page on New Well Sampling. The well owner may also have the sample analyzed for other parameters at their discretion. After completion of the analysis, you will receive a copy of the results. | (1) Wells supplied by aquifers whose top is less than 100 feet deep may be located no closer than 150 feet horizontally from a pollution source, 75 feet horizontally from wastewater system components, or 30 feet horizontally from sewer lines as defined by subdivision 74:02:04:20(46); (2) Wells supplied by aquifers whose top is more than 100 feet deep may be located no closer than 100 feet horizontally from a pollution source, 50 feet horizontally from wastewater system components, or 30 feet horizontally from sewer lines as defined by subdivision 74:02:04:20(46); (3) No well constructed to supply water to water distribution systems as defined by SDCL 46-1-6(17) may be located any closer than: (a) Five hundred feet horizontally from a wastewater treatment plant, wastewater pumping station, hazardous chemical warehouse, bulk petroleum storage facility, bulk fertilizer storage facility, or bulk pesticide storage facility; and (b) One thousand feet horizontally from a sanitary landfill or dump, wastewater drainage ditch, or wastewater stabilization pond; and (4) All wells shall be located a minimum of 10 feet horizontally from permanent structures and overhead projections of the structure and 10 feet horizontally from overhead power lines. Spacing for wells for which water permits are required may be determined individually by the water management board. Small removable structures or pump houses with roof access may be built over a well. | 46-6-11. Records of well construction required. On each well drilled the driller shall keep accurate records and complete a record of well construction on a form supplied by the chief engineer. If for any reason well construction is begun but not completed, the well driller shall complete the record of well construction to the extent possible. Within one month of completion of a well driller's work on a well, he shall file all well construction records with the chief engineer for placement on permanent file. The public shall have access to the records at any time during normal business hours. | 1974 | No
Tennessee | [8 empty] | From phone cal with Scotty Sorrells (Scotty.Sorrells@tn.gov) : Tennessee has kept well logs since the 1970's but the responsible agency has changed at least twice and not all records have been properly retained. Records since the mid 90's are considered relatively complete, but there are issues with underreporting from drillers (as with many other states). The records are kept in individual excel files which are regularly updated. The excel files are broken up by county (95 total). Scotty was more than happy to provide any information that we requested but that compiling the files would take some work. I told Scotty not to worry about it since the data is not readily available to the public, I did not want to be responsible for it's misuse and that we would touch base again if we needed it down the road. | Sewage Lagoons; Leaching Pits: ---------------------- 200 feet Animal Pens; Feed Lots: ------------------------------- 100 feet Sludge; Sewage Disposal Sites ------------------------100 feet Pit Privies ------------------------------------------------- 75 feet Sewer Lines -----------------------------------------------50 feet Septic Tanks; Drain Fields ------------------------------ 50 feet House to Septic Tank Connections (Tightline)-------10 feet - See more at: https://tn.gov/health/article/private-water-supply#sthash.MztCRgdC.dpuf | 0400-45-09-.10 WELL CONSTRUCTION STANDARDS Every well driller, within sixty (60) days after completion of a water well, shall submit a report on the construction or reconstruction of the well to the Department. The well completion report shall be made on a form provided by the Department or a reasonable facsimile approved by the Department. | 2012-10-16 | No
Texas | http://www.twdb.texas.gov/groundwater/data/drillersdb.asp | 441486 | 171649 | Yes | Yes | No | 2017-05-31 | The Submitted Drillers Reports (SDR) Database: The Submitted Drillers Report (SDR) Database is populated from the online Texas Well Report Submission and Retrieval System (TWRSRS) which is a cooperative Texas Department of Licensing and Regulation (TDLR) and Texas Water Development Board (TWDB) application that registered water-well drillers use to submit their required reports. This system was started 2/5/2001 and began collecting all reports in 2003. Be aware that the locations of the wells in this database are not verified by State staff and may be inaccurate. Updated Nightly | The database only includes electronically submitted results which seem to have started in the late 1990's. Paper records exist prior to this and can be viewed online. |  | Sec. 1901.251. Well Log. (a) Each driller who drills, deepens, or otherwise alters a water well in this state shall make and keep a legible and accurate well log in accordance with rules adopted by the commission and on forms prescribed by the executive director. The well log shall be recorded at the time of drilling, deepening, or otherwise altering the well and must contain: (1) the depth, thickness, and character of the strata penetrated; (2) the location of water-bearing strata; (3) the depth, size, and character of casing installed; and (4) any other information required by rules adopted by the commission. (b) Not later than the 60th day after the date of the completion or cessation of drilling, deepening, or otherwise altering the well, the driller shall deliver, send by first class mail, or provide electronically a copy of the well log to: (1) the department; (2) the Texas Commission on Environmental Quality; and (3) the owner of the well or the person for whom the well was drilled. | 2003 | No
Utah | http://waterrights.utah.gov/gisinfo/wrcover.asp | 326298 | 12645 | No | Yes | Yes | 2017-06-01 | WRPOD is a point shapefile created nightly from data in the Utah Division of Water Rights Database. Purpose: The WRPOD shapefile is primarily used by the Division of Water Rights as a complete record of point of diversion locations. Supplemental information: The shapefile is generated nightly from basic information in the Water Rights tabular database | The dataset for Utah is built a bit differently than most other states in that it includes all 'points of diversion'. Domnestic wells are included but make up a relatively small portion of the database. The database is notably missing drill dates for the wells which may exist elsewhere such as in the original drilling logs. | Rule R655-4-10.2 the licensee should also be familiar with local zoning ordinances, or county boards of health requirements which may limit or restrict the actual well location and construction in relationship to property/structure boundaries and existing or proposed concentrated sources of pollution or contamination such as septic tanks, drain fields, sewer lines, stock corrals, feed lots, etc. The licensee should also be familiar with the Utah Underground Facilities Act (Title 54, Chapter 8a of the Utah Code Annotated 1953 as amended) which requires subsurface excavators (including well drilling) to notify operators of underground utilities prior to any subsurface excavation. | R655-4-4.1 The well driller shall make certain that a valid authorization or approval to drill exists before engaging in regulated well drilling activity. Authorization to drill shall consist of a valid 'start card' based on any of the approvals listed below. Items 4.1.1 through 4.1.12 allow the applicant to contract with a well driller to drill, construct, deepen, replace, repair, renovate, clean, develop, or abandon exactly one well at each location listed on the start card or approval form. The drilling of multiple borings/wells at an approved location/point of diversion is not allowed without authorization from the state engineer's office. Most start cards list the date when the authorization to drill expires. If the expiration date has passed, the start card and authorization to engage in regulated drilling activity is no longer valid. If there is no expiration date on the start card, the driller must contact the state engineer's office to determine if the authorization to drill is still valid. When the work is completed, the permission to drill is terminated. Preauthorization or pre-approval of pump installation/repair work is not required. |  | No
Vermont | http://anrgeodata.vermont.gov/datasets/private-wells | 105248 | 105248 | No | Yes | No | 2017-01-18 | Private wells in this layer come from the Department of Environmental Conservation's Water Supply Data Composite. Managed by the Water Supply Division's Well Driller and Well Location Program, the database contains private well information submitted by Vermont licensed well drillers. Licensed well drillers have been required to submit well completion reports (well logs) to the state since 1966. Well tags have been required since 1986. NOTE: the data contained here is only as accurate as what was submitted - many wells were completed, but not reported, many reports have missing information, were recorded inaccurately or poorly located geographically. If a report cannot be found but you know the driller of a particular well, you may want to contact them directly. |  | VERMONT ANR-DEC ENVIRONMENTAL PROTECTION RULES, WATER SUPPLY RULE: CHAPTER 21, APPENDIX A, PART 12 12.2.1.1 Buildings 10 ft. Edge of driveway serving fewer than 3 residences 15 ft. Property line 10 ft. Roadway shoulder, parking lot edge 25 ft. Surface Water 25 ft. Subsurface wastewater piping (sewer and related tanks (septic)) 25 ft. Limit of herbicide application, i.e. utility ROW 100 ft. Concentrated livestock holding areas, or manure storage 200 ft. Down slope sewage system disposal facilities (fields, beds, drywells, injection wells, etc.) 100 ft. Up slope sewage system disposal facilities 100 ft. Hazardous or solid waste disposal sites 200 ft. | Environmental Protection Rules Chapter 15 (Revision to September 18, 1986 rule): 15-701 Each licensee shall file a report with the Department and well owner on each water well constructed, including but not limited to the name of the owner, location, depth, character of rocks or earth formations and fluids encountered, and other reasonable and appropriate information the Department may require. All well completion reports shall be signed by a Vermont licensed well driller. | 1966 | Yes
Virginia | [8 empty] | A comprehensive well database is currently being compiled but does not seem to be available as of 6/1/2017: http://www.deq.virginia.gov/Programs/Water/WaterSupplyWaterQuantity/GroundwaterCharacterization/WellDatabase.aspx |  | The Code of Virginia §62.1-258 requires that certified water well system providers submit to the Virginia Department of Environmental Quality a water well completion report form for any private well constructed within a Virginia Groundwater Management Area within 30 days of construction. | 1973 | No
Washington | http://www.ecy.wa.gov/services/gis/data/data.htm | 728969 | NA | Yes | Yes | Yes | 2016-04-21 | Point shapefile with a record for each well log in Ecology's. Points are located by 1/4 1/4 section centroid. Points contain all well log types including water wells, resource protection wells, and decommissioned wells. | Well records go back to the early 1900's but it doesn't seem possible to distinguish between types of wells. | 173-160 of the Washington Administrative Code (WAC) Building or Structure Drip line 5 ft Septic Tank 50 ft Building Sewer 50 ft Septic Drain Field 100 ft Permitted Landfill Boundary 1000 f | a Notice of Intent to Construct a Well form to Ecology at least 72 hours prior to well construction along with the appropriate fee. Notice of Intent forms are available through any Ecology office and licensed well drillers. The forms can be filled out by the property owner or the well driller | 1987 | No
West Virginia | [8 empty] | While drilling records are required to be filed upon the drilling of a new, or the altering of an existing well, records appear to be filed at the county level. The form does provide space for gps coordinates and these records have been required since at least 1984. It is unclear how many records would exist in digital vs. paper format but there appears to be no online submission system indicating that paper copies are most likelky to be the primary form of reporting. | WV 64CSR46: (64-46-4) property line ------------ 10 ft existing or potential contamination---------- as far as possible may not terminate within a building or below ground level | 64-19-5 Within thirty (30) calendar days after the water well has been constructed, altered, or abandoned, the certified well driller shall submit a completion report to the Comissioner. The date of construction and time of completion is the date and time the rig is removed or pulled off the borehole or well. The certified well driller who actually performed the construction, alteration or abandonment of the well or provided the onsite supervision of the well construction, alteration or abandonment shall sign the completion report. A master well driller is required to sign the completion report when a journeyman well driller conducts the on-site supervision and drilling. | 1984 | No
Wisconsin | http://prodoasext.dnr.wi.gov/inter1/watr$.startup | 136300 | [6 empty] | Sent an e-mail to Liesa Lehmann at Wisconsin DNR about getting records that have PLSS data attached. The downloadable database includes a wealth of information on well construction but does not have location data. |  |  | 1936 | No
Wyoming | http://seo.wyo.gov/documents-data/maps-and-spatial-data | 158678 | 74435 | No | Yes | Yes | 2016-04-19 | Wyoming retains a general shapefile which was last updated in April 2016. However, they have a queriable database which appears to be updated either daily or weekly. The data can be exported to excel and can be onverted into GIS format from there. The Wyoming state engineers office makes note that most well locations are at a resolution of a plss quarter-quarter section (40-acres). They make very clear that these data should be considered for regional analysis and not mistaken for perfect positional accuracy. | The query I used to identify wells for this dataset included the following: Diversion Type = 'Ground Water' Priority Date: Between 01/01/1865 and 06/05/2017 Primary Beneficial Use: 'Domestic-- Ground Water' Total Records Returned: 74,435 Total Missing GPS Coords: 3,665 Total Missing PLSS Designation: 13 (2 have GPS) | Rules are set forth by the Water Well Minimum Construction Standards Document (https://2ce3bd20-a-84cef9ff-s-sites.googlegroups.com/a/wyo.gov/seo/seo-files/WaterWellMinimumConstructionStandards.pdf?attachauth=ANoY7co227tWqpxiIq56mO0So0arkDIK3tAXxDxeu_-10wA07UiDNwPGn01U9dsfsqpuSHWtErx4W5fCQHgtmrIgTuJ2Q0_eatCUjJA4F_oYb66RDeNv2uoi7XisXYqgxSPkrRrXgJ7snho--zNq-rkwaxu_cFuramVEanIYDnDb3orjnS3GD8TcPQ2hMrpiLj4aw1hErq7bYYRdeAJPjKp9sxlnRvDNp8dmkDwcb4mO3-K1pV7Uo4N6IaoMxXZ9SzeLvHYMMRHG&attredirects=0) given authority by Wyoming 41-3-909 Livestock Containment Pens 50 feet Livestock Sewage Lagoons 50 feet Sewer 50 feet Septic Tank 50 feet Disposal (Leach) Field 100 feet | W.S. 41-3-930: "Any person who intends to acquire the right to beneficial use of any underground water in the state of Wyoming, shall, before commencing construction of any well or other means of obtaining underground water or performing any work in connection with construction or proposed appropriation of underground water or any manner utilizing the water for beneficial purposes, file with the state engineer an application for a permit to make the appropriation and shall not proceed with any construction or work until a permit is granted by the state engineer..." From state engineers website: "The 1947 legislature enacted the State's first groundwater laws. Although the legislation was not extensive, it did for the first time, require the owners of any groundwater wells drilled in the state prior to April 1, 1947 to register their wells by a "Statement of Claim" with the office of the State Engineer. It also required that any new well proposed to be drilled after that date (except those for stock or domestic uses) must also be registered, and thus began the application of the prior appropriation system to groundwater use in Wyoming. Well filings made under a statement of claim could receive their priority based on the claimed date of completion of the well, going back as far in time as could be justified, while registrations of wells after April 1, 1947 would receive a priority as of the date their new filing was made with the State Engineer. A process for adjudication of wells was also included in the legislation" | 1947 | Yes

## Sheet2
| Refined | 1990 Census Wells | 1990 Reported Wells | Comments
Arizona
Arkansas
Colorado
Idaho
Illinois
Kansas
Kentucky
Louisiana
Maine
Maryland
Massachusettes
Michigan
Minnesota
Mississippi
Missouri
Montana
Nebraska
Nevada
New Hampshire
New Jersey
New Mexico
Ohio
Oklahoma
Pennsylvania
Vermont
Wyoming